## Sheet1
Building | Brand/Model | Devices
|  | Manual Fire Alarm Boxes | Photo Detectors | Duct Detectors | Heat Detectors | Horns | Strobes | Horn Strobes | Speaker Strobes | Water Flow Switches | Supervisory Switches | Tamper Switches | Monitor Modules | Relay Modules | Ion Detectors | Pressure Switches | Flow Switches | Speakers | Drum Drips | Elevator Modules | AHU Modules | Roll Down Doors | Damper Modules | Vesda | Door Modules | Total Devices
Main Hospital, 2211 Lomas | Siemens/MXL | 146 | 920 | 56 | 107 |  | 37 | 250 |  | 36 | 53 | 52 | 18 | 56 | 4 | 3 | 33 | [8 empty] | 1771
ACC, 2211 Lomas | Gamewell FCI/E3 | 34 | 340 | 8 | 37 |  | 74 |  | 132 | 17 | 25 | 23 |  |  | 1 | 1 | 16 | 60 | 2 | 4 | 7 | 1 | 1 |  | 1 | 784
Rehab Services, 1025 Medical Arts | Gamewell FCI/7100 1D | 4 | 19 | 1 | 3 |  | 4 | 6 | [17 empty] | 37
Sleep Disorders Center, 1101-2 Medical Arts | Siemens/MXL | 6 | 22 | 4 | 2 | 4 | 4 | [18 empty] | 42
Lobo Senior Care, 1101-4 Medical Arts | Gamewell FCI/7100 1D | 10 | 64 |  | 11 | 13 | 7 | [18 empty] | 105
Orthopaedics Clinic, 1101-5 Medical Arts | Siemens/MXL-IQ | 3 | 22 |  | 2 | 10 | 6 | [18 empty] | 43
Young Children's Health, 301 San Pablo | Gamewell FCI/E3 | 11 | 22 | 19 | 10 | 14 | 31 | [18 empty] | 107
Milagro Program Residents, 1129 University | Firelite/MP-24 | 2 | 12 |  |  | 1 |  |  |  | 1 | 3 | 3 | [13 empty] | 22
Southwest Clinic, 301 Unser Blvd. | Gamewell FCI/7100 | 9 | 11 | 4 | 4 | 23 | 43 |  |  | 1 | 2 | [14 empty] | 97
SE Heights Family Care Clinic, 8200 Central | Gamewell FCI | 8 | 8 |  | 5 | 26 | 45 |  |  | 1 | 2 | 2 | [13 empty] | 97
Patient Financial Services, 1131 University | Gamewell FCI/7100 | 4 | 8 | 7 | 2 | 4 | 2 | [18 empty] | 27
Ophthalmology Clinic, 1600 University | Siemens/MXL-IQ | 5 | 18 |  | 10 | 9 | 1 | [18 empty] | 43
ASAP Clinic, 2600 Yale | Gamewell FCI/7100 | 8 | 41 | 13 | 11 | 15 | 14 | [18 empty] | 102
University Psychiatric Center, 2600 Marble | Gamewell FCI/S3 | 41 | 175 | 10 | 20 |  | 10 |  | 41 | 4 | 6 |  | 22 | 9 | [11 empty] | 338
Bill and Barbra Richardson Pavillion, 2211 Lomas | Edwards Tech/EST 3 | 134 | 1838 | 1147 | 151 | 6 | 18 |  | 727 | 23 | 1276 | 67 | 20 | 161 |  | 1 | 22 | 146 | [5 empty] | 1 |  | 5738
Woman's Fertility Clinic, 801 Encino - E1 | Gamewell FCI/7100 | 2 | 1 | 5 | 1 | 3 | 2 | [18 empty] | 14
Bradbury, 933 Bradbury | Gamewell FCI/E3 | 15 | 67 | 19 | 20 | 10 | 22 |  |  | 4 |  | 30 | [13 empty] | 187
Digestive Disease, 1001 MLK | Firelite/MS 9200 UDLS | 3 | 22 | 12 | 15 | 14 | 10 |  |  | 1 | 2 | 2 | [13 empty] | 81
Carrie Tingley Hospital, 1127 University | Siemens/MXL | 32 | 171 | 22 | 28 | 55 | 113 |  |  | 2 | 4 | 4 | 1 | [12 empty] | 432
Family Health/Pharmacy, 1209 University | Pyrotronics/MXL-IQ | 6 | 33 | 2 | 7 | 13 | 8 |  |  | 1 | 2 | 2 | [13 empty] | 74
OSIS, 1213 University | Pyrotronics/MXL-IQ | 17 | 110 | 13 | 18 | 52 | 10 |  |  | 2 | 1 | 1 | [13 empty] | 224
PSR Clinic, 2001 B Centro Familiar | Gamewell FCI | 2 | 18 | 2 | 1 | 19 | 10 |  |  | 1 | 3 | 3 | [13 empty] | 59
Life Guard, 2505 Clark Carr | Firelite | 11 | 11 |  |  | 18 | 5 | [18 empty] | 45
Westside Family Health, 4808 McMahon | Firelite/MS 9050 MD | 10 | 24 |  |  |  | 5 | 12 | [17 empty] | 51
Family Health, 7801 Academy | Gamewell FCI/7100 | 2 | 22 | 4 | 4 | 12 | 4 | [18 empty] | 48